## Sheet1
T | Site conditions
T |  | Environment conditions
T |  | Cooling water |  | Delta T: 10K -- Supply temp : 288/305K -- Delta T < 2 bar
T |  | Electricity |  | 6,6 kV -- current measurement
T |  | Instrument air
T |  | Helium
T |  | Nitrogen
T |  | Magnetic field/Radiation levels
T | Performance
T |  | Steady-state operation modes
T |  |  | Nominal design mode
T |  |  | Nominal design mode
T |  |  | 4.5 K standby mode
T |  | Automation of operation modes
T |  |  | Transient operation modes
T |  |  | Cool down
T |  |  | Pump-down
T |  |  | Warm up
T |  |  | Fault conditions
T |  | Availability and reliability
T | Warm compressor station
T |  | Arrangement
T |  |  | Compression stages
T |  |  | Main helium circuits
T |  | Oil lubricated screw compressor skids
T |  |  | Compressors
T |  |  | Electrical motors
T |  |  | Vibrations
T |  |  | Noise level
T |  |  | Gas filters
T |  |  | Coolers
T |  |  | Bulk oil removal system
T |  | Process vacuum pump system if applicable
T |  | Final oil removal system
T |  |  | Coalescers
T |  |  | Adsorber
T |  | Dryer
T |  | Gas management panel
T |  | Safety valves
T |  | Purge requirements
T |  | Gas analysis equipment
T |  | Piping system
T |  | Measuring points
T |  | Leak tightness
T | Cold box
T |  | Vacuum vessel and insulation system
T |  | Heat exchangers
T |  | LN2 Precooling stage
T |  | Turbines
T |  | Cold compressor system / Circulators
T |  | Adsorbers
T |  | Filters
T |  | Phase separator and sub-cooler
T |  | Electrical Heaters
T |  | Cold box interfaces
T |  |  | Connections to the WCS
T |  |  | Connections to the LHe storage tank
T |  |  | Connections to the CDS
T |  |  | Connections to the ambient heater
T |  | Test cryostat
T |  | Gas analysis equipment
T |  | Ambient heater
T |  | Purge system
T |  | Safety valves
T |  | Measuring points
T |  | Leak-tightness
T | Spare parts
T |  | Warm compressor station
T |  | Cold Box
T |  | Other components
T | LHe storage tank
T | Control system
T |  | Hardware and software specifications
T |  | Software
T |  | Naming Convention
T | Instrumentation, interlocks and electrical design
T |  | Electrical measurements
T |  | Flow measurements
T |  | Position measurements
T |  |  | Continuous measurements
T |  |  | End switches for valves
T |  | Hour counters
T |  | Level measurements
T |  |  | LHe level
T |  |  | Oil level
T |  |  | Oil level switches
T |  | Pressure measurements
T |  |  | Absolute pressure measurements
T |  |  | Differential pressure measurements
T |  |  | Local pressure gauges
T |  |  | Pressure and differential pressure switches
T |  |  | Vacuum gauges
T |  | Impurity measurements in helium
T |  | Rotation speed measurements
T |  | Temperature measurements
T |  | Valves
T |  |  | Actuators for spindle-type valves
T |  |  | Actuators for valves other than spindle-type valves
T |  |  | Solenoid valves
T |  |  | Manual valves
T |  | Electrical heaters
T |  | Electrical interface and signal conditioning
T |  | Electrical cabinets
T |  | Connectors for signal cables
T |  | Signal cables
T |  | Equipment-embedded controls and interlocks
T |  | Relays
T |  | Circuit breakers
T |  | Local emergency stops
T | Requirements on mechanical design, manufacture and mounting
T | Operating conditions
T | Pressure vessels and pressurised pipes
T | Choice of materials
T | Welding requirements
T | Valves
T |  | Valves at ambient temperature
T |  | Cryogenic valves
T |  | Safety relief valves and rupture disks
T |  | Leaks on valves
T |  | Measures against thermo-acoustic oscillations
T | Joints and seals
T | Bellows
T | Helium guard
T | Cleaning and surface treatmen
T | Purge manifolds
T | Identification

## Sheet2
Synthèse des gros projets Refrigeration Helium
(Groupe efficacité)
Projet | Type | Techno | Zone | Phase AO | Caracteristiques
ESS-TMCP | Scientifique | Refrigerateur | Suède | Mai~Sept. 2015 | 25kW @ 20K
GAZPROM | Oil&Gas | Liquefacteur | Russie | Avril~Juil. 2015 | 3x10t/j LHe
FAIR-GSI | Scientifique | Refrigerateur | Allemagne | Oct~Fev. 2016 | 25kW @ 4.5K
IBS Raon | Scientifique | Refrigerateur | Corée | Oct~Fev. 2016 | 18kW @ 4.5K
HIAF | Scientifique | Refrigerateur | Chine | Oct~Fev. 2016 | 10kW @ 4.5K
CERN | Scientifique | Refrigerateur | Suisse | 2016~2017 | 5~10kW @ 4.5K
SLAC LCLS2 |  |  |  | en cours